# Sewerage

From Wikipedia, the free encyclopedia

sewerage = kanalisatsioon

sewage  = reovesi

sewer = reoveetoru

sewage pipe = reoveetoru

Sewerage refers to the infrastructure that conveys sewage. It comprises components such as receiving drains, manholes, pumping stations, storm overflows, and screening chambers of the combined sewer or sanitary sewer. Sewerage ends at the entry to a sewage treatment plant or at the point of discharge into the environment. In loose American English usage, the terms "sewerage" and "sewage" are sometimes used interchangeably.

Design and sizing of sewage collection systems considers the  population served, the commercial and industrial flows.

Combined sewer systems are designed to transport both storm water runoff and sewage in the same pipe. Often, combined sewers cannot handle the volume of runoff, resulting in combined sewer overflows and causing water pollution problems in nearby water bodies.

Separate sanitary sewer systems are designed to transport sewage alone, and another pipe system is constructed to convey storm water runoff directly to surface waters. Most municipal sewer systems constructed today are separate sewer systems. Although this type of sewerage is intended to transport only sewage, it also has some degree of inflow and infiltration of surface water and groundwater, which can lead to sanitary sewer overflows.

## Implementation

In many European countries, citizens are obliged to connect their home sanitation to the national sewerage system where possible. This has resulted in large percentages of the population being connected to a sewerage system. For example, the Netherlands have 99% of the population connected to the sewerage system, and 1% has an individual sewage disposal system, e.g., septic tank.

What happens to all the stuff that goes down the toilet?

Let's assume there are eight million people in New York city, and half of this population, four million, takes a dump each day. That means that NYC produces 1,000 tons of the brown stuff each day. Where does this stuff go? And what is done with it afterwards?