Sewerage

Sewerage is an infrastructure that conveys ..................................... . At the end of the sewerage there is a sewage .................................... plant or point of ............................ to the environment.

There are two types of sewerages. .......................................... transport both stormwater runoff and sewage in the same pipe. Combined sewerages cannot often handle the volume of runoff, and this can cause ............................................ .

Another type of sewer systems is .................................................................. . These are designed to convey only .............................................................. .Another pipe system is constructed to convey stormwater ............................................. directly to surface water.

In many countries citizens are obliged to connect their home ............................... to the ................................................ sewerage system. For example, in the Netherlands only 1% of the population has an individual sewage ............................................ system, for example, a .................................................... tank.

Sewage treatment plant

The general task of sewage treatment plants is to ........................................... and ..................

as many solids before returning water to the environment.

There are several stages in the treatment process. Primary ..................................... removes the largest items in sewage. The ........................................ are regularily cleaned and the trash is sent to a ......................................................... . In .................................... screening finer materials are removed using fine ...................................... .

Sedimentation removes the ................................. particles. In this process ................................ ponds and basins are used. Some ................................. may be added to the water to improve the efficiency of the .................................... process.

.......................................  involves injecting air in the form of bubbles into the water. Suspended particles are attached to the air bubbles and rise to the surface of the water, where they are ................................... off.

In ...................................... and ................................................... biological treatment certain bacteria are used to break down some biological .................................. in the sewage.

After the common treatments ............................................ filtering can be used before the water is ....................................................... to the environment. Sometimes activated ...............

or charcoal can be added.

Most of the solid waste is collected as .............................................. . Biosolids can be used for fertilizers, soil ......................................, they may be dried out and burned as a solid ....................................................... .