The processes used in modern sewage treatment plants

The processes used for treating sewage vary, but typically involve various stages to remove and treat as many solids as possible before returning the water to the environment. Here are the most common techniques:

Primary Screening. Screens remove the largest items in sewage. They generally consist of large bars situated at 1 to 6 inches apart to catch such items as boards, rags, large plastic items etc. The screens are regularly cleaned and the collected trash is sent to a landfill.

Secondary Screening. Optionally used, these screens are often fine meshes or moving mesh belts with a much tighter spacing than the primary screens. The finer material they gather is also generally sent to a landfill.

Sedimentation.  Sedimentation is the removal of suspended particles by allowing the water to either flow slowly through a large tank or rest for a time in settling basins or ponds. Sometimes a chemical such as alum is added to the water to improve the efficiency of the settling process.

Flotation. Flotation involves injecting air into the water in the form of tiny bubbles. Suspended particles that are too fine to settle will attach to the bubbles and rise to the surface of the water, where they can be skimmed off.

Aerobic Biological Treatment. This process uses bacteria that, in oxygen-containing air, break down some of the biological compounds in sewage, producing carbon dioxide and water. Sometimes the waste is aerated (has air injected into it) to assist in this process.

Anaerobic Biological Treatment. Sometimes used instead of or in conjunction with aerobic biological treatment, this process uses bacteria that, in the absence of oxygen, break down the biological compounds in sewage. The results of this process are methane, carbon dioxide, and other simple organic compounds. Anaerobic treatment is sometimes used when you want methane, e.g., for use as fuel, but generally the methane must be collected even if there isn't an end use for it.

After these common treatments, additional filtering, chemical, and biological techniques can be used to give a final "polishing" to the water before it is discharged to the environment. In some cases, activated carbon or charcoal is used. Most of the solid waste is collected as sludge during  processing, and this sludge must be disposed of. "Biosolids," as they are called, were once routinely landfilled or even dumped into the ocean. When modern environmental regulation are applied, this is no longer an option, so other methods of disposal have been developed. For example, biosolids can be used for fertilizer and soil reclamation, and may even be dried out and burned as a solid fuel (typically along with some other higher-energy solid fuel, such as coal).

Let's look at New York city as a large-scale example. New York residents and businesses discharge about 1.4 billion gallons of waste into the sewers each day, which is treated by 14 sewage treatment plants. While no two treatment plants are exactly the same, they use similar techniques. The North River treatment plant utilizes large bar screens, settling ponds, aeration and biological treatment, and treatment with some chemicals. The sludge that remains undergoes further settling, anaerobic digestion by bacteria, and dewatering to turn the sludge into biosolids. New York generates biosolids from all sources (human, food, plant, and other biological wastes). This lovely fragrant mass was once dumped into the ocean, but since 1988 the city has been prohibited from doing this.